## Sheet1
Reference heteronuclei from protons |  |  |  |  | (last modified 10/26/95 by mg)
Expt: | - e.g. HNCA |  | Date: | 1995-10-26
Experimental Specifics:
|  | Temperature: | 300 |  | Spectrometer 1H freq: | 500.13
"do"
Freqs (Hz) | Carrier | Offset | Total | SW | # points (td) | Reverse | CT | SE | (DW)
1D 1H: | 500130000 | 2150.19 | 500132150.19 | 6009.615 | 2048 | N
1H: | 500130000 | 2150.19 | 500132150.19 | 6009.615 | 2048 | N
13C: | 125757739 | 7000 | 125764739 | 4545.4545 | 128 | N | N | N | 1.5
15N: | 50677748 | 5900 | 50683648 | 2000 | 72 | N | Y | N | 0
1H: | Reference ppm: | 0 | Hz for ref: | 500129867.2406
| Pt for ref: | 1803 | Carrier ppm: | 4.5647
| Freq for 0 ppm: | Pt for 0 ppm: | Carrier ppm
1H: | 500129867.2406 | 1803 | 4.5647
13C: | 125757381.5466 | 272.1859 | 58.5017
15N: | 50677718.3329 | 250.468 | 116.9937
Referencing Ratios:
Wishart et al, J Biom. NMR 6,135 (1995)
| Ratio | Temp-Coeff
13C: | 0.25145 | 1.04e-09
15N: | 0.10133 | 2.74e-10
[formula] | [=1HFrq0*(Rc+(T-300)*Tc)]
Instructions for use:
Collect and reference a 1D spectrum/slice with respect to an appropriate ref standard (DSS, etc.).
Fill in the dark greyed table entries. Excel will calculate the indirect referencing numbers
(e.g. 13C & 15N chemical shifts at the carrier frequency).
The other entries are included only for convenient consolidation - and may be filled in or omitted -
for use in processing scripts/macros:
|  | Reverse: | Need to reverse chemical shift axis - pulse seq. dependant
|  | CT: | Constant time in this dimension
|  | SE: | Sensitivity enhanced (using this dimension)
|  | "d0": | Initial delay in this dimension, in terms of dwell points
Questions may be directed to: girvin@aecom.yu.edu (Mark Girvin).